## Slide 1: Advances in DNA Sequencing
Biochem 3BP3
November 26, 2025

## Slide 2: Sequencing we have learnt about so far …
Illumina DNA sequencing
Shot gun approach
Sequence small fragments about 250 base pairs in length
Can use some library prep tricks to measure additional information: RNA-seq, ChIP-seq, Bisulfite-seq
Limitations:
1. Short reads which can reduce alignment efficiency
2. Sequencing multiple cells together, read out is an average

## Slide 3: Advances in sequence length and resolution
Sequence length
Single cell resolution
Spatial resolution
1
2
3

## Slide 4: Advances in sequence length and resolution
Sequence length
Single cell resolution
Spatial resolution
1
2
3
a
Nanopore
b
PacBio

## Slide 5: Oxford Nanopore Technologies (ONT)
Protein nanopore is set in an electrically resistance polymer membrane.
An ionic current is passed through the nanopore by setting a voltage across membrane.
Change in current used to identify molecule passing through.
Each nanopore sequences a single DNA molecule start to finish – no fixed read length
Can detect modifications, e.g. DNA methylation

## Slide 6: Oxford Nanopore Technologies (ONT)
Protein nanopore is set in an electrically resistance polymer membrane.
An ionic current is passed through the nanopore by setting a voltage across membrane.
Change in current used to identify molecule passing through.
Each nanopore sequences a single DNA molecule start to finish – no fixed read length
Can detect modifications, e.g. DNA methylation

## Slide 7: Trade-off: long reads vs base calling accuracy
Very long reads – longest reported 10 Mbp
Low base accuracy – low PHRED score
1478 total sequences produced by sequencing a bacterial pathogen

## Slide 8: Nanopore portable, real-time analysis
Flow cell and device very small and portable
Easy to use – no PCR step involved
DNA strand moves rapidly are rate 1-5 μs per base through the nanopore
Processing this fast signal not fully mature
May be the first technology for clinical virus sequencing and outbreak management
MinION

## Slide 9: Nanopore portable, real-time analysis
MinION
SmidgION
(In development)
Flow cell and device very small and portable
Easy to use – no PCR step involved
DNA strand moves rapidly are rate 1-5 μs per base through the nanopore
Processing this fast signal not fully mature
May be the first technology for clinical virus sequencing and outbreak management

## Slide 10: Advances in sequence length and resolution
Sequence length
Single cell resolution
Spatial resolution
1
2
3
a
b
PacBio
Nanopore
Strengths:
Read length
Portability

## Slide 11: Pacific Biosciences (PacBio)
Single Molecule, Real Time (SMRT) Technology
Sequence by synthesis method using phospholinked nucleotides and zero-mode waveguide (ZMWs) sensor
Single DNA polymerase enzyme is affixed at the bottom of a ZMW with a single molecule of DNA as a template
Immobilized DNA polymerase is stable enough for long reads
Illuminated volume: ~20 zeptoliters (20 X 10−21 liters)

## Slide 12: HiFi Sequencing – increasing base accuracy

## Slide 13: Which platform to choose? Nanopore vs PacBio
 | Nanopore | PacBio
Read length | 100 kbp (1-4 Mbp possible) | 10-25 kbp
Base pair accuracy | Q17-20 (98-99%) | Q30-50 (99.9-99.99%)
Portable | Yes | No

## Slide 14: Leveraging long-read technologies
Constructing the first human pangenome reference
Liao et al. Nature 2023

## Slide 15: Leveraging long-read technologies
Constructing the first human pangenome reference
Four different sequencing methods:
PacBio HiFi
ONT long read
Bionano optical mapping
Illumina short read sequencing
Liao et al. Nature 2023

## Slide 16: Leveraging long-read technologies
Heng et al. Synthetic and Systems Biotechnology 2023

## Slide 17: Advances in sequence length and resolution
Sequence length
Single cell resolution
Spatial resolution
1
2
3
a
Nanopore
Strengths:
Read length
Portability
b
PacBio
Strengths:
Base accuracy

## Slide 18: Advances in sequence length and resolution
Sequence length
Single cell resolution
Spatial resolution
1
2
3
a
Nanopore
Strengths:
Read length
Portability
b
PacBio
Strengths:
Base accuracy
a
10X Genomics

## Slide 19: 10X Genomics: single cell sequencing
Combines cell sorting with sequencing to measure single-cell transcriptome.
Individual cells are separated into Gel Beads in EMulsion (GEMs) along with barcoded gel beads and reverse transcriptase/reagents.

## Slide 20: 10X Genomics: single cell sequencing
Cell is lysed within GEM, mRNA anneals to bead’s oligos. RNA is reverse transcribed in cDNA such that every cDNA has: 10x barcode + UMI + cDNA sequence
cDNA sequence = which gene
UMI (unique molecular identifier) = which RNA molecule
10x barcode = which cell
50-100bp
Does not sequence full transcript

## Slide 21: Questions that can be answered with scRNA-seq

## Slide 22: Questions that can be answered with scRNA-seq
What proportion of the cells sequenced are immune cells/stromal cells/epithelial cells/etc.?
Is a specific gene expressed by a specific cell type?
Can we identify a novel cell type based on its transcriptome?

## Slide 23: Advances in sequence length and resolution
Sequence length
Single cell resolution
Spatial resolution
1
2
3
a
Nanopore
Strengths:
Read length
Portability
b
PacBio
Strengths:
Base accuracy
a
10X Genomics
Limitations:
Limited to gene abundance
Does not sequence full transcript
No spatial resolution

## Slide 24: Advances in sequence length and resolution
Sequence length
Single cell resolution
Spatial resolution
1
2
3
a
Nanopore
Strengths:
Read length
Portability
b
PacBio
Strengths:
Base accuracy
a
10X Genomics
Limitations:
Limited to gene abundance
Does not sequence full transcript
No spatial resolution

## Slide 25: Advances in sequence length and resolution
Sequence length
Single cell resolution
Spatial resolution
1
2
3
a
Nanopore
Strengths:
Read length
Portability
b
PacBio
Strengths:
Base accuracy
a
10X Genomics
Limitations:
Limited to gene abundance
Does not sequence full transcript
No spatial resolution
a
10X Genomics Visium

## Slide 26: 10X Genomics: Visium
Tissue is overlaid on Visium gene expression slide which includes barcoded spots.
Tissue is permeabilized which releases mRNA and allows to hybridize with barcodes.
Average size of cell: 10-20 µm

## Slide 27: 10X Genomics: Visium HD
Visium HD contains spatially barcoded oligos arranged in a grid of 2 x 2 µm barcoded squares which effectively achieves single cell resolution
Average size of cell: 10-20 µm

## Slide 28: Questions that can be answered with Visium
What proportion of the cells sequenced are immune cells/stromal cells/epithelial cells/etc.?
Is a specific gene expressed by a specific cell type?
Can we identify a novel cell type based on its transcriptome?

## Slide 29: Questions that can be answered with Visium
What proportion of the cells sequenced are immune cells/stromal cells/epithelial cells/etc.?
Is a specific gene expressed by a specific cell type?
Can we identify a novel cell type based on its transcriptome?
How does the spatial proximity of cell A impact the transcriptional phenotype of cell B?
Do specific cell types co-localize?

## Slide 30: Advances in sequence length and resolution
Sequence length
Single cell resolution
Spatial resolution
1
2
3
a
Nanopore
Strengths:
Read length
Portability
b
PacBio
Strengths:
Base accuracy
a
10X Genomics
Limitations:
Limited to gene abundance
Does not sequence full transcript
No spatial resolution
a
10X Genomics Visium
Limitations:
Limited to gene abundance
Does not sequence full transcript

## Slide 31: Advances in sequence length and resolution
Sequence length
Single cell resolution
Spatial resolution
1
2
3
a
Nanopore
Strengths:
Read length
Portability
b
PacBio
Strengths:
Base accuracy
a
10X Genomics
Limitations:
Limited to gene abundance
Does not sequence full transcript
No spatial resolution
a
10X Genomics Visium
Limitations:
Limited to gene abundance
Does not sequence full transcript

## Slide 32: This week …
Next week ... Guest lecture from Dr. McArthur
The Genomics of a Pandemic
Notes: McA