## Slide 1: Microarray Analysis Flow Chart
RNA extraction
cDNA synthesis and Cy3/5 labeling
Hybridize to Microarray
Dry & Scan
Feature Extraction
Normalization
Data Filtering
Data Transformations & Adjustments
Statistical Tests
Post-hoc Tests
Visualization

## Slide 2: High Quality RNA is Essential
RNA extraction
Bioanalyzer results for zebrafish total RNA extractions
The two peaks represent the 18S and 28S rRNA – these should be abundant and not degraded

## Slide 3: Lab Work to Raw Data
RNA extraction
cDNA synthesis and Cy3/5 labeling
Hybridize to Microarray
Dry & Scan
Feature Extraction
Vendor Software
Spot finding
Outlier detection
Measure feature intensity (Cy3 and/or Cy5)
Background Subtraction or Detrending
Commercial microarrays make extensive use of internal control probes

## Slide 4: Feature Extraction

## Slide 5: Feature Extraction

## Slide 6: Feature Extraction

## Slide 7: Normalization
RNA extraction
cDNA synthesis and Cy3/5 labeling
Hybridize to Microarray
Dry & Scan
Feature Extraction
Normalization

## Slide 8: Example #1 – Rank Invariant Probes
An oxidative stress experiment in zebrafish embryos with exposure to diquot, sulforophane (SFN), tBHQ, and tBOOH
DMSO controls (also labeled as UT or UTD)
20 microarrays total – single dye (Cy3) hybridization!
Which microarrays had the highest and lowest Cy3 loadings?
Which microarray required the most normalization?

## Slide 9: Example #1 – Rank Invariant Probes
This is a single dye experiment!
DMSO-Rep1
Diquat-Rep1
Cy3
hyb #1
hyb #2
Cy3
SFN-Rep1
tBHQ-Rep1
etc…
Cy3
hyb #1
hyb #2
Cy3

## Slide 10: Data Filtering
RNA extraction
cDNA synthesis and Cy3/5 labeling
Hybridize to Microarray
Dry & Scan
Feature Extraction
Normalization
Data Filtering

## Slide 11: Example #2 – Filtering
Zebrafish embryos exposed to DMSO, tBHQ, or TCDD
Two dye hybridization of all samples (Cy5 - red) against a reference RNA sample (Cy3 - green)
EXCEL is normalized data for 3 samples
  what is the most highly expressed gene for the tBHQ, TCDD, and DMSO samples?
  what is the most highly expressed gene in the Universal Reference samples?
  which genes are saturated in which samples?
  are there non-uniform features?
  what percentage of the microarray probes are covered by the Universal Reference?

## Slide 12: Example #2 – Filtering
This is a two-dye experiment!
DMSO-Rep1
Univ Ref
Cy3
Cy5
tBHQ-Rep1
Univ Ref
Cy3
Cy5
TCDD-Rep1
Univ Ref
Cy3
Cy5
etc…

## Slide 13: Microarray Analysis Flow Chart
RNA extraction
cDNA synthesis and Cy3/5 labeling
Hybridize to Microarray
Dry & Scan
Feature Extraction
Normalization
Data Filtering
Data Transformations & Adjustments
Statistical Tests
Post-hoc Tests
Visualization

## Slide 14: Example #3 – Statistical Analysis
Perform a complete analysis of microarray data
  Introduction to MeV software
  Log transform the data
  Median Centre the data
  Adjust visualization of the data
  Perform ANOVA
  Perform Cluster Analysis
A oxidative stress experiment involving pools of 30 zebrafish embryos exposed to tBHQ, TCDD, Diquat, SNF, or a DMSO control
Two or Three replicates for each time point
Single channel (Cy3) use of a Agilent zebrafish microarray
Determine the patterns of significant changes in gene expression during exposure to oxidative stress

## Slide 15: Example #3 – Statistical Analysis
30 embryos
30 embryos
30 embryos
DMSO
SFN
Diquat
TCDD
tBHQ
5 treatments x triplication = 15 samples
1 sample discarded due to a dust fragment on the microarray
30 embryos
30 embryos
30 embryos
30 embryos
30 embryos
30 embryos
30 embryos
30 embryos
30 embryos
30 embryos
30 embryos

## Slide 16: Example #3 – Statistical Analysis
Perform a complete analysis of microarray data
  Introduction to MeV software
  Log transform the data
  Median Centre the data
  Adjust visualization of the data
  Perform ANOVA
  Perform Post-Hoc analysis (Rank Product)
  Generate a Heat Map, Venn Diagrams, Principal Components Analysis
Distributions examined: F-distribution, de novo permutated distribution
Type I error control: p<0.05 versus p<0.01
Type II error control: nothing, Adj. Bonferroni, 1% or 5% FDR correction
Type I error = false positives (aka false discovery)
Type II error = false negatives
In the adjusted Bonferroni correction, the t-values for all the genes are ranked in descending order. For the gene with the highest t-value, the critical p-value becomes (alpha / n), where n is the total number of genes; for the gene with the second-highest t-value, the critical p-value will be (alpha/ n-1), and so on.